## DCS INt WS
DRAFT SCHEDULE 'A' : INTERNAL WATER SUPPLY JOB NO N-592 : MH AT BHADERWAH
Ser No | Description of items of works | Drg No | Unit Rate (Rs) |  | No of Units reqd | Amount Rs | Period of competion of individual item after handing over of site. | Remarks
|  |  | Unit | Rate
1 | 2 | 3 | 4 |  | 5 | 6 | 7 | 8
1. | Three Layer PPR Polypropylene random copolymer pipes UV stablized and antimicrobibial fusion welded, having thermal stability for hot and cold water supply including all PPR plain and brass threaded Polypropylene random fittings, laid in trenches, or fixed in walls or laid under floors, concealed type and testing of joints after laying of pipes complete all as specified for the following outer dia of pipes:-
| (a) 15mm |  | RM | 92.51 | 1326 | 122668.26
| (b) 20mm |  | RM | 109.14 | 891 | 97243.74
| (c) 25mm |  | RM | 129.63 | 480 | 62222.4
| (d) 32mm |  | RM | 156.14 | 203 | 31696.42
| (e) 40mm |  | RM | 175.52 | 129 | 22642.08
| (f) 50mm |  | RM | 221.45 | 118 | 26131.1
| (g) 100mm |  | RM | 438.41 | 314 | 137660.74
DRAFT SCHEDULE 'A' : INTERNAL WATER SUPPLY JOB NO N-592 : MH AT BHADERWAH
|  |  | Unit | Rate
1 | 2 | 3 | 4 |  | 5 | 6 | 7 | 8
2. | Full way lever operated forged brass ball valve of brass body with forged brass hard chrome plated steel ball, union/ flange, washer, nuts & bolts, rated to temperature of 85 degree celcius and testing to a pressure not less than 10 Kg/Sqcm including covering with nitrile rubber insulation 9mm thick, insulation as per specifications, for the following bore of pipes:-
| (a) 15mm bore |  | Each | 173.15 | 19 | 3289.85
| (b) 20mm bore |  | Each | 213.35 | 41 | 8747.35
| (c) 25mm bore |  | Each | 355.55 | 53 | 18844.15
| (d) 32mm bore |  | Each | 487.63 | 11 | 5363.93
| (e) 40mm bore |  | Each | 628.48 | 06 | 3770.88
| (f) 50mm bore |  | Each | 777.79 | 09 | 7000.11
3. | Butter fly valve with nitrile seat and stainless steel stem with lever operation and cast iron body in powder coated finish, of approved make, with union/ flange, washer, nuts and bolts, rated to temperature of 85 degree celcius and tested to a pressure not less than 15 Kg/Sqcm including nitrile rubber insulaton 9mm thick, insulation with proprietary fire proof protective coating against mechanical damage as per maufacturer's specification complete in all respects as required for 100mm bore pipe. |  | Each | 777.79 | 06 | 4666.74
4. | Bib tap, cast copper alloy with crutch or butterfly handle, chromium plated, screwed down, high pressure, with wall flange, screwed for iron pipe or brass ferrule and fixed complete for 15mm bore of pipe. |  | Each | 109.84 | 114 | 12521.76
5. | Brass chromium plated bib tap, long body, fancy type, weighing not less than 690 grams, screwed down, with wall flange, high pressure, screwed for iron pipe or brass ferrule and fixed complete in all respect for 15mm bore of pipe. Make : Jaquar Cat Part No 23107 or equivalent of Marc/ Parko/ Dripless. |  | Each | 129.5 | 131 | 16964.5
DRAFT SCHEDULE 'A' : INTERNAL WATER SUPPLY JOB NO N-592 : MH AT BHADERWAH
|  |  | Unit | Rate
1 | 2 | 3 | 4 |  | 5 | 6 | 7 | 8
6. | Single hole wash hand basin mixer, cast copper alloy, chromium plated, fancy type, screwed down, high pressure with capstan head, lettered 'Hot' and 'Cold', with wall flange, for 15mm bore of pipe fixed to iron pipe or union, all as specified. Make : Jaquar Cat Part No 23167B or equivalent of Marc/ Parko/ Dripless. |  | Each | 550 | 60 | 33000
7. | Stop valve cast copper alloy, CP (concealed type), with long shank and cup, fancy type, screwed down, with wall flange, high pressure with crutch or butterfly handle, screwed both ends for iron pipe or union, for 15mm bore of pipe, all as specified Make : Jaquar Cat Part No 23083 or equivalent of Marc/ Parko/ Dripless. |  | Each | 208.74 | 106 | 22126.44
8. | Pillar tap, cast copper alloy, fancy type with capston heads, chromium plated, screwed down, high pressure with or without lettered 'Hot' or 'cold' with long screwed shanks and flynuts, screwed for iron pipes and fixed for 15mm bore, all as specified. Make : Jaquar Cat Part No 021 or equivalent of Marc/ Parko/ Dripless. |  | Each | 246.13 | 100 | 24613
9. | Brass chromium plated angle valves, fancy type with wall flange and capston head, fixed to iron pipes or brass ferrule, suitable for 15mm bore of pipe, all as specified. Make : Jaquar Cat Part No 055 or equivalent of Marc/ Parko/ Dripless. |  | Each | 156.45 | 250 | 39112.5
10. | Fully automatic "No touch" hand drier suitable to operate on 230 volts, single phase, 50 Hz, AC power supply complete with brackets for fixing on wall complete all as specified. Make : ARS/ Kopal or equivalent |  | Each | 1850 | 04 | 7400
11. | Fixing only vertical wall mounting water storage heaters (Gyser), capacity 25 litres, with all fitting such as nipples etc, mounted on and including holding down bolts of suitable size grouted in PCC 1:2:4 type B-1 blocks and testing complete after making connections. Note : Gyser shall be issued under Sch 'B' free for fixing. |  | Each | 100 | 36 | 3600
12. | CP brass conections, suitable for 15mm bore of pipe with brass nuts at both ends, 450mm long, fixed to iron pipe or brass ferrule, all as specified. |  | Each | 80 | 136 | 10880
DRAFT SCHEDULE 'A' : INTERNAL WATER SUPPLY JOB NO N-592 : MH AT BHADERWAH
|  |  | Unit | Rate
1 | 2 | 3 | 4 |  | 5 | 6 | 7 | 8
13. | PVC connections, 15 mm size with PTMT nuts, of length 450 mm, all as specified. |  | Each | 28.94 | 136 | 3935.84
14. | PVC connections, 15 mm size with PTMT nuts, of length 375 mm, all as specified. |  | Each | 26.94 | 36 | 969.84
15. | Stainless steel automatic soap dispensor fixed on walls on wooden plugs with CP brass screws complete all as specified. |  | Each | 550 | 04 | 2200
16. | Shower rose, CP brass, suitable for 15mm bore of pipe, with 150mm long C.P brass arm, swivel type, fixed to iron pipe or brass ferrule complete all as specified. Make : Jaquar Cat Part No 491 or equivalent of Marc/ Parko/ Dripless. |  | Each | 130 | 14 | 1820
17. | Wall mixing valve, C.P brass, fancy type, with three joints to steel pipes or union, suitable for 15mm bore of pipe, plugged and screwed in walls complete all as specified. Make : Jaquar Cat Part No 219 or equivalent of Marc/ Parko/ Dripless. |  | Each | 650 | 30 | 19500
18. | Surgical purpose Wash hand basin/ Sink mixer, C.P brass, single lever, with extended operating lever with 450mm long braided hoses suitabel for 15mm bore pipe fixed to brass ferrule or pipe complete all as specified. Make : Jaquar Cat Part No 15031 B or equivalent of Marc/ Parko/ Dripless. |  | Each | 1200 | 10 | 12000
19. | Sink mixer C.P brass, with special extended spout with 450mm long braided hoses suitable for 15mm bore of pipe, fixed to brass ferrule or iron pipe complete all as specified. Make : Jaquar Cat Part No 23321B or equivalent of Marc/ Parko/ Dripless. |  | Each | 850 | 20 | 17000
779591.63

## Drawing
CA No. CEUZ/UDH/04/2010-11 | [5 empty] | Serial Page No.
LIST OF DRAWINGS
Srl No | Drg No | Sheet No. |  | Original date | Revised date | Brief description of drawings.
1 | 2 | 3 |  | 4 | 5 | 6
LIST OF DRAWINGS
1 | MH/UDH\W\MLD | 1 | /1 | 09 Feb 10 | - | Master list of drawing.
2 | MH/UDH/W/LD-1 | 1 | /1 | 15 Dec 09 | - | List of drawings Hospital building, dietary building and officers mess..
3 | MH/UDH/W/LD-2 | 1 | /1 | 09 Feb 10 | - | List of structural drawings for MH, dietary block, Offr Mess & Service buildings.
4 | MH/UDH/W/LD-3 | 1 | /1 | 09 Feb 10 | - | List of service drawings for hospital building, dietory block and offr mess.
5 | OTM\UDH\W\A-9 | 1 | /1 | 08 Dec 09 | - | List of drawings for other buildings except MH, Dietary block and offr Mess.
MAIN HOSPITAL BUILDING
6 | MH/ARCH-12 | 001 | /233 | 22 Dec 09 | - | Site plan. (Full site).
7 | MH/ARCH-12 | 001A | /233 | 28 Oct 09 | - | External E\M services plan (Full site).
8 | MH/ARCH-12 | 001B | /233 | 28 Oct 09 | - | External B/R services plan (Full site).
9 | MH/ARCH-12 | 002 | /233 | 22 Dec 09 | - | Hospital site plan (Part).
10 | MH/ARCH-12 | 003 | /233 | 22 Dec 09 | - | Ground floor plan (Full).
11 | MH/ARCH-12 | 004 | /233 | 22 Dec 09 | - | First floor plan (Full).
12 | MH/ARCH-12 | 005 | /233 | 22 Dec 09 | - | Second floor plan (Full).
13 | MH/ARCH-12 | 006 | /233 | 22 Dec 09 | - | Main roof plan (Full).
14 | MH/ARCH-12 | 007 | /233 | 22 Dec 09 | - | Upper roof plan (Full).
15 | MH/ARCH-12 | 008 | /233 | 22 Dec 09 | - | Ground floor plan (Zone A).
16 | MH/ARCH-12 | 009 | /233 | 22 Dec 09 | - | Ground floor plan (Zone B).
17 | MH/ARCH-12 | 010 | /233 | 22 Dec 09 | - | Ground floor plan (Zone C).
18 | MH/ARCH-12 | 011 | /233 | 22 Dec 09 | - | Ground floor plan (Zone D).
19 | MH/ARCH-12 | 012 | /233 | 22 Dec 09 | - | First floor plan (Zone A).
20 | MH/ARCH-12 | 013 | /233 | 22 Dec 09 | - | First floor plan (Zone B).
21 | MH/ARCH-12 | 014 | /233 | 22 Dec 09 | - | First floor plan (Zone C).
22 | MH/ARCH-12 | 015 | /233 | 22 Dec 09 | - | First floor plan (Zone D).
23 | MH/ARCH-12 | 016 | /233 | 22 Dec 09 | - | Second floor plan (Zone A).
24 | MH/ARCH-12 | 017 | /233 | 22 Dec 09 | - | Second floor plan (Zone B).
25 | MH/ARCH-12 | 018 | /233 | 22 Dec 09 | - | Second floor plan (Zone C).
26 | MH/ARCH-12 | 019 | /233 | 22 Dec 09 | - | Second floor plan (Zone D).
27 | MH/ARCH-12 | 020 | /233 | 22 Dec 09 | - | Lower roof plan (Zone A).
28 | MH/ARCH-12 | 021 | /233 | 22 Dec 09 | - | Lower roof plan (Zone B).
29 | MH/ARCH-12 | 022 | /233 | 22 Dec 09 | - | Lower roof plan (Zone C).
30 | MH/ARCH-12 | 023 | /233 | 22 Dec 09 | - | Lower roof plan (Zone D).
31 | MH/ARCH-12 | 024 | /233 | 22 Dec 09 | - | Upper roof plan (Zone B).
SECTIONS
32 | MH/ARCH-12 | 025 | /233 | 22 Dec 09 | - | Section (A - A' ) & (B - B' ). Zone 'A' all floors.
33 | MH/ARCH-12 | 026 | /233 | 22 Dec 09 | - | Section (C - C' ). Zone 'C' & 'D' all floors.
34 | MH/ARCH-12 | 027 | /233 | 22 Dec 09 | - | Section (D - D' ). Zone 'C' & 'D' all floors.
35 | MH/ARCH-12 | 028 | /233 | 22 Dec 09 | - | Section (E - E' ). Zone 'A' all floors.
36 | MH/ARCH-12 | 029 | /233 | 22 Dec 09 | - | Section (H - H' ) + (J - J' ). Zone 'D' all floors.
37 | MH/ARCH-12 | 030 | /233 | 22 Dec 09 | - | Section (G - G' ). Zone 'B' all floors.
ELEVATIONS
38 | MH/ARCH-12 | 031 | /233 | 22 Dec 09 | - | Elevation A. (Zone 'A' all floors).
39 | MH/ARCH-12 | 032 | /233 | 22 Dec 09 | - | Elevation B. (Zone 'B' all floors).
40 | MH/ARCH-12 | 033 | /233 | 22 Dec 09 | - | Elevation D. (Zone 'D' all floors).
41 | MH/ARCH-12 | 034 | /233 | 22 Dec 09 | - | Elevation E. (Zone 'C & 'D' all floors).
CA No. CEUZ/UDH/04/2010-11 | [5 empty] | Serial Page No.
LIST OF DRAWINGS
1 | 2 | 3 |  | 4 | 5 | 6
42 | MH/ARCH-12 | 035 | /233 | 22 Dec 09 | - | Elevation F. (Zone 'B' all floors).
43 | MH/ARCH-12 | 036 | /233 | 22 Dec 09 | - | Elevation G. (Zone 'B' all floors).
44 | MH/ARCH-12 | 037 | /233 | 22 Dec 09 | - | Elevation H. (Zone 'A' all floors.).
45 | MH/ARCH-12 | 038 | /233 | 22 Dec 09 | - | Elevation I. (Zone 'A' all floors.).
46 | MH/ARCH-12 | 039 | /233 | 22 Dec 09 | - | Staircase detail-01. (Zone 'D' all floors).
47 | MH/ARCH-12 | 040 | /233 | 22 Dec 09 | - | Staircase detail-02. (Zone 'A' all floors).
48 | MH/ARCH-12 | 041 | /233 | 22 Dec 09 | - | Staircase detail-03. (Zone 'A'/'B' all floors).
49 | MH/ARCH-12 | 042 | /233 | 22 Dec 09 | - | Ramp detail-01. (All floors).
50 | MH/ARCH-12 | 043 | /233 | 22 Dec 09 | - | Ramp detail-02. (Ground floor).
51 | MH/ARCH-12 | 044 | /233 | 22 Dec 09 | - | Ramp detail-03. (Ground floor).
TOILET DETAIL (GROUND FLOOR)
52 | MH/ARCH-12 | 045 | /233 | 22 Dec 09 | - | Toilet detail GA 01. (Zone 'A').
53 | MH/ARCH-12 | 046 | /233 | 22 Dec 09 | - | Toilet detail GA 02. (Zone 'A').
54 | MH/ARCH-12 | 047 | /233 | 22 Dec 09 | - | Toilet detail GA 03. (Zone 'A').
55 | MH/ARCH-12 | 048 | /233 | 22 Dec 09 | - | Toilet detail GA 04. (Zone 'A').
56 | MH/ARCH-12 | 049 | /233 | 22 Dec 09 | - | Toilet detail GA 05. (Zone 'A').
57 | MH/ARCH-12 | 050 | /233 | 22 Dec 09 | - | Toilet detail GA 06. (Zone 'A').
58 | MH/ARCH-12 | 051 | /233 | 22 Dec 09 | - | Toilet detail GA 07. (Zone 'A').
59 | MH/ARCH-12 | 052 | /233 | 22 Dec 09 | - | Toilet detail GA 08. (Zone 'A').
60 | MH/ARCH-12 | 053 | /233 | 22 Dec 09 | - | Toilet detail GA 09. (Zone 'A').
61 | MH/ARCH-12 | 054 | /233 | 22 Dec 09 | - | Toilet detail GA 10. (Zone 'A').
62 | MH/ARCH-12 | 055 | /233 | 22 Dec 09 | - | Toilet detail GA 11. (Zone 'A').
63 | MH/ARCH-12 | 056 | /233 | 22 Dec 09 | - | Toilet detail GB 12. (Zone 'B').
64 | MH/ARCH-12 | 057 | /233 | 22 Dec 09 | - | Toilet detail GD 13. (Zone 'D').
65 | MH/ARCH-12 | 058 | /233 | 22 Dec 09 | - | Toilet detail GD 14. (Zone 'D').
66 | MH/ARCH-12 | 059 | /233 | 22 Dec 09 | - | Toilet detail GD 15. (Zone 'D').
67 | MH/ARCH-12 | 060 | /233 | 22 Dec 09 | - | Toilet detail GD 16. (Zone 'D').
68 | MH/ARCH-12 | 061 | /233 | 22 Dec 09 | - | Toilet detail GD 17. (Zone 'D').
69 | MH/ARCH-12 | 062 | /233 | 22 Dec 09 | - | Toilet detail GD 18. (Zone 'D').
70 | MH/ARCH-12 | 063 | /233 | 22 Dec 09 | - | Toilet detail GD 19. (Zone 'D').
71 | MH/ARCH-12 | 064 | /233 | 22 Dec 09 | - | Toilet detail GD 20. (Zone 'D').
72 | MH/ARCH-12 | 065 | /233 | 22 Dec 09 | - | Toilet detail GD 21. (Zone 'D').
73 | MH/ARCH-12 | 066 | /233 | 22 Dec 09 | - | Toilet detail GD 22. (Zone 'D').
74 | MH/ARCH-12 | 067 | /233 | 22 Dec 09 | - | Toilet detail GD 23. (Zone 'D').
75 | MH/ARCH-12 | 068 | /233 | 22 Dec 09 | - | Toilet detail GD 24. (Zone 'D').
TOILET DETAIL (FIRST FLOOR)
76 | MH/ARCH-12 | 069 | /233 | 22 Dec 09 | - | Toilet detail FA 01. (Zone 'A').
77 | MH/ARCH-12 | 070 | /233 | 22 Dec 09 | - | Toilet detail FA 02. (Zone 'A').
78 | MH/ARCH-12 | 071 | /233 | 22 Dec 09 | - | Toilet detail FA 03. (Zone 'A').
79 | MH/ARCH-12 | 072 | /233 | 22 Dec 09 | - | Toilet detail FA 04. (Zone 'A').
80 | MH/ARCH-12 | 073 | /233 | 22 Dec 09 | - | Toilet detail FB 05. (Zone 'B').
81 | MH/ARCH-12 | 074 | /233 | 22 Dec 09 | - | Toilet detail FB 06. (Zone 'D').
82 | MH/ARCH-12 | 075 | /233 | 22 Dec 09 | - | Toilet detail FB 07. (Zone 'D').
83 | MH/ARCH-12 | 076 | /233 | 22 Dec 09 | - | Toilet detail FC 08. (Zone 'C').
84 | MH/ARCH-12 | 077 | /233 | 22 Dec 09 | - | Toilet detail FC 09. (Zone 'C').
85 | MH/ARCH-12 | 078 | /233 | 22 Dec 09 | - | Toilet detail FD 10. (Zone 'D').
86 | MH/ARCH-12 | 079 | /233 | 22 Dec 09 | - | Toilet detail FD 11. (Zone 'D').
87 | MH/ARCH-12 | 080 | /233 | 22 Dec 09 | - | Toilet detail FD 12. (Zone 'D').
88 | MH/ARCH-12 | 081 | /233 | 22 Dec 09 | - | Toilet detail FD 13. (Zone 'D').
89 | MH/ARCH-12 | 082 | /233 | 22 Dec 09 | - | Toilet detail FD 14/15. (Zone 'D').
90 | MH/ARCH-12 | 083 | /233 | 22 Dec 09 | - | Toilet detail FD 16. (Zone 'D').
TOILET DETAIL (SECOND FLOOR)
91 | MH/ARCH-12 | 084 | /233 | 22 Dec 09 | - | Toilet detail SA 01. (Zone 'A').
92 | MH/ARCH-12 | 085 | /233 | 22 Dec 09 | - | Toilet detail SA 02. (Zone 'A').
93 | MH/ARCH-12 | 086 | /233 | 22 Dec 09 | - | Toilet detail SA 03. (Zone 'A').
94 | MH/ARCH-12 | 087 | /233 | 22 Dec 09 | - | Toilet detail SA 04. (Zone 'A').
95 | MH/ARCH-12 | 088 | /233 | 22 Dec 09 | - | Toilet detail SB 05. (Zone 'B').
96 | MH/ARCH-12 | 089 | /233 | 22 Dec 09 | - | Toilet detail SB 06. (Zone 'B').
97 | MH/ARCH-12 | 090 | /233 | 22 Dec 09 | - | Toilet detail SB 07. (Zone 'B').
98 | MH/ARCH-12 | 091 | /233 | 22 Dec 09 | - | Toilet detail SB 08. (Zone 'B').
99 | MH/ARCH-12 | 092 | /233 | 22 Dec 09 | - | Toilet detail SC 09. (Zone 'C').
CA No. CEUZ/UDH/04/2010-11 | [5 empty] | Serial Page No.
LIST OF DRAWINGS
1 | 2 | 3 |  | 4 | 5 | 6
100 | MH/ARCH-12 | 093 | /233 | 22 Dec 09 | - | Toilet detail SC 10. (Zone 'C').
101 | MH/ARCH-12 | 094 | /233 | 22 Dec 09 | - | Toilet detail SC 11. (Zone 'C').
102 | MH/ARCH-12 | 095 | /233 | 22 Dec 09 | - | Toilet detail SD 12. (Zone 'D').
103 | MH/ARCH-12 | 096 | /233 | 22 Dec 09 | - | Toilet detail SD 13. (Zone 'D').
104 | MH/ARCH-12 | 097 | /233 | 22 Dec 09 | - | Toilet detail SD 14. (Zone 'D').
105 | MH/ARCH-12 | 098 | /233 | 22 Dec 09 | - | Toilet detail SD 15. (Zone 'D').
106 | MH/ARCH-12 | 099 | /233 | 22 Dec 09 | - | Toilet detail SD 16. (Zone 'D').
107 | MH/ARCH-12 | 100 | /233 | 22 Dec 09 | - | Toilet detail SD 17. (Zone 'D').
108 | MH/ARCH-12 | 101 | /233 | 22 Dec 09 | - | Toilet detail SD 18. (Zone 'D').
109 | MH/ARCH-12 | 102 | /233 | 22 Dec 09 | - | Toilet detail SD 19. (Zone 'D').
110 | MH/ARCH-12 | 103 | /233 | 22 Dec 09 | - | Toilet detail SD 20. (Zone 'D').
111 | MH/ARCH-12 | 104 | /233 | 22 Dec 09 | - | Toilet detail SD 21. (Zone 'D').
GROUND FLOOR & FIRST FLOOR (ROOM DETAILS)
112 | MH/ARCH-12 | 105 | /233 | 22 Dec 09 | - | Zone - A GA R01. (Full ground floor).
113 | MH/ARCH-12 | 106 | /233 | 22 Dec 09 | - | Zone - A GA R02. (Full ground floor).
114 | MH/ARCH-12 | 107 | /233 | 22 Dec 09 | - | Zone - A GA R03. (Full ground floor).
115 | MH/ARCH-12 | 108 | /233 | 22 Dec 09 | - | Zone - A GA R04. (Full ground floor).
116 | MH/ARCH-12 | 109 | /233 | 22 Dec 09 | - | Zone - A GA R05. (Full ground floor).
117 | MH/ARCH-12 | 110 | /233 | 22 Dec 09 | - | Zone - A GA R06. (Full ground floor).
118 | MH/ARCH-12 | 111 | /233 | 22 Dec 09 | - | Zone - D GD R07. (Full ground floor).
119 | MH/ARCH-12 | 112 | /233 | 22 Dec 09 | - | Zone - D GD R08. (Zone 'D' Ground floor).
120 | MH/ARCH-12 | 113 | /233 | 22 Dec 09 | - | Zone - D GD R09. (Full ground floor).
121 | MH/ARCH-12 | 114A | /233 | 22 Dec 09 | - | Zone - D GD R10. (Full ground floor).
122 | MH/ARCH-12 | 114-B | /233 | 22 Dec 09 | - | Zone - D GD R11. (Full ground floor).
123 | MH/ARCH-12 | 115 | /233 | 22 Dec 09 | - | Zone - D FD R01. (Full first floor).
124 | MH/ARCH-12 | 116 | /233 | 22 Dec 09 | - | Zone - D FD R02. (Full first floor).
125 | MH/ARCH-12 | 117 | /233 | 22 Dec 09 | - | Zone - D FD R03. (Full first floor).
126 | MH/ARCH-12 | 118 | /233 | 22 Dec 09 | - | Zone - D FD R04. (Full first floor).
127 | MH/ARCH-12 | 119 | /233 | 22 Dec 09 | - | Zone - D FD R05. (Zone 'D' first floor).
128 | MH/ARCH-12 | 120 | /233 | 22 Dec 09 | - | Zone - D FD R06. (Full first floor).
129 | MH/ARCH-12 | 121 | /233 | 22 Dec 09 | - | Zone - D FD R07. (Full first floor).
130 | MH/ARCH-12 | 122 | /233 | 22 Dec 09 | - | Zone - D FD R08. (Full first floor).
131 | MH/ARCH-12 | 123 | /233 | 22 Dec 09 | - | Zone - D FD R09. (Full first floor).
132 | MH/ARCH-12 | 124 | /233 | 22 Dec 09 | - | Zone - D FD R10. (Full first floor).
133 | MH/ARCH-12 | 125 | /233 | 22 Dec 09 | - | Zone - D FD R11. (Full first floor).
134 | MH/ARCH-12 | 126 | /233 | 22 Dec 09 | - | Zone - D FD R12. (Full first floor).
135 | MH/ARCH-12 | 127 | /233 | 22 Dec 09 | - | Zone - D FD R13. (Full first floor).
CA No. CEUZ/UDH/04/2010-11 | [5 empty] | Serial Page No.
LIST OF DRAWINGS
1 | 2 | 3 |  | 4 | 5 | 6
SECOND FLOOR (ROOM DETAILS)
136 | MH/ARCH-12 | 128 | /233 | 22 Dec 09 | - | Zone - B SB R01. (Full second floor).
137 | MH/ARCH-12 | 129 | /233 | 22 Dec 09 | - | Zone - B SB R02. (Full second floor).
138 | MH/ARCH-12 | 130 | /233 | 22 Dec 09 | - | Zone - B SB R03. (Full second floor).
139 | MH/ARCH-12 | 131 | /233 | 22 Dec 09 | - | Zone - B SB R04. (Full second floor).
140 | MH/ARCH-12 | 132A | /233 | 22 Dec 09 | - | Zone - B SB R05. (Full second floor).
141 | MH/ARCH-12 | 132B | /233 | 22 Dec 09 | - | Zone - C SC R06. (Full second floor).
142 | MH/ARCH-12 | 133 | /233 | 22 Dec 09 | - | Zone - C SC R07. (Full second floor).
143 | MH/ARCH-12 | 134 | /233 | 22 Dec 09 | - | Zone - C SC R08. (Full second floor).
144 | MH/ARCH-12 | 135 | /233 | 22 Dec 09 | - | Zone - D SD R09. (Full second floor).
145 | MH/ARCH-12 | 136A | /233 | 22 Dec 09 | - | Zone - D SD R10. (Full second floor).
146 | MH/ARCH-12 | 136B | /233 | 22 Dec 09 | - | Zone - SD R11. (Full second floor).
FLOORING PATTERN
147 | MH/ARCH-12 | 137 | /233 | 22 Dec 09 | - | Ground Floor (Zone A).
148 | MH/ARCH-12 | 138 | /233 | 22 Dec 09 | - | Ground Floor (Zone B).
149 | MH/ARCH-12 | 139 | /233 | 22 Dec 09 | - | Ground Floor (Zone C).
150 | MH/ARCH-12 | 140 | /233 | 22 Dec 09 | - | Ground Floor (Zone D).
151 | MH/ARCH-12 | 141 | /233 | 22 Dec 09 | - | First Floor (Zone A).
152 | MH/ARCH-12 | 142 | /233 | 22 Dec 09 | - | First Floor (Zone B).
153 | MH/ARCH-12 | 143 | /233 | 22 Dec 09 | - | First Floor (Zone C).
154 | MH/ARCH-12 | 144 | /233 | 22 Dec 09 | - | First Floor (Zone D).
155 | MH/ARCH-12 | 145 | /233 | 22 Dec 09 | - | Second Floor (Zone A).
156 | MH/ARCH-12 | 146 | /233 | 22 Dec 09 | - | Second Floor (Zone B).
157 | MH/ARCH-12 | 147 | /233 | 22 Dec 09 | - | Second Floor (Zone C).
158 | MH/ARCH-12 | 148 | /233 | 22 Dec 09 | - | Second Floor (Zone D).
FALSE CEILING DETAIL
159 | MH/ARCH-12 | 149 | /233 | 22 Dec 09 | - | Ground Floor (Zone A).
160 | MH/ARCH-12 | 150 | /233 | 22 Dec 09 | - | Ground Floor (Zone B).
161 | MH/ARCH-12 | 151 | /233 | 22 Dec 09 | - | Ground Floor (Zone C).
162 | MH/ARCH-12 | 152 | /233 | 22 Dec 09 | - | Ground Floor (Zone D).
163 | MH/ARCH-12 | 153 | /233 | 22 Dec 09 | - | First Floor (Zone A).
164 | MH/ARCH-12 | 154 | /233 | 22 Dec 09 | - | First Floor (Zone B).
165 | MH/ARCH-12 | 155 | /233 | 22 Dec 09 | - | First Floor (Zone C).
166 | MH/ARCH-12 | 156 | /233 | 22 Dec 09 | - | First Floor (Zone D).
167 | MH/ARCH-12 | 157 | /233 | 22 Dec 09 | - | Second Floor (Zone A).
168 | MH/ARCH-12 | 158 | /233 | 22 Dec 09 | - | Second Floor (Zone B).
169 | MH/ARCH-12 | 159 | /233 | 22 Dec 09 | - | Second Floor (Zone C).
170 | MH/ARCH-12 | 160 | /233 | 22 Dec 09 | - | Second Floor (Zone D).
ADDITIONAL DETAILS
171 | MH/ARCH-12 | 161 | /233 | 22 Dec 09 | - | Boundary wall/ gate guard room.
172 | MH/ARCH-12 | 162 | /233 | 22 Dec 09 | - | Gate/ guard room detail.
173 | MH/ARCH-12 | 163A | /233 | 22 Dec 09 | - | Culvert detail.
174 | MH/ARCH-12 | 163B | /233 | 22 Dec 09 | - | Typical Road section.
175 | MH/ARCH-12 | 164 | /233 | 22 Dec 09 | - | Retaining wall detail.
176 | MH/ARCH-12 | 165 | /233 | 22 Dec 09 | - | Rolling shutter /Plinth protection detail.
177 | MH/ARCH-12 | 166 | /233 | 22 Dec 09 | - | Door Window detail. (Full building).
178 | MH/ARCH-12 | 167 | /233 | 28 Oct 09 | - | DW frame detail. (Full building).
179 | MH/ARCH-12 | 168A | /233 | 22 Dec 09 | - | Schedule of finishes (MH - Ground floor).
CA No. CEUZ/UDH/04/2010-11 | [5 empty] | Serial Page No.
LIST OF DRAWINGS
1 | 2 | 3 |  | 4 | 5 | 6
180 | MH/ARCH-12 | 168B | /233 | 22 Dec 09 | - | Schedule of finishes (MH - first floor).
181 | MH/ARCH-12 | 168C | /233 | 22 Dec 09 | - | Schedule of finishes (MH - second floor).
182 | MH/ARCH-12 | 169C | /233 | 22 Dec 09 | - | Schedule of finishes Offr Mess/ Dietry block.
183 | MH/ARCH-12 | 170 | /233 | 22 Dec 09 | - | Lift detail. (Zone 'B' all floors).
184 | MH/ARCH-12 | 171 | /233 | 22 Dec 09 | - | Typical handrail detail. FBD02, SBD02 & SDC02 (All floor & Zones).
185 | MH/ARCH-12 | 172 | /233 | 22 Dec 09 | - | Roof joinery/ expn detail. (Full all floors).
186 | MH/ARCH-12 | 173 | /233 | 22 Dec 09 | - | False ceiling joinery detail. (All floors).
187 | MH/ARCH-12 | 174 | /233 | 22 Dec 09 | - | Arch opening, flower bed, partition wall, glazing, sky walk etc., (All floor & Zones).
188 | MH/ARCH-12 | 175 | /233 | 22 Dec 09 | - | HT/LT panel, transformer, water tank, plant & pump room, all services building.
189 | MH/ARCH-12 | 176 | /233 | 22 Dec 09 | - | Cupboard detail GD/GA CB 07/01. (Zone 'D'/'A' ground floor).
190 | MH/ARCH-12 | 177 | /233 | 22 Dec 09 | - | Cupboard detail GA CB 02/03. (Zone 'A' ground floor).
191 | MH/ARCH-12 | 178 | /233 | 22 Dec 09 | - | Cupboard detail GA CB 04. (Zone 'B' ground floor).
192 | MH/ARCH-12 | 179 | /233 | 22 Dec 09 | - | Cupboard detail GB CB 05. (Zone 'B'/'D' ground floor).
193 | MH/ARCH-12 | 180 | /233 | 22 Dec 09 | - | Cupboard detail GB CB 06. (Zone 'B' ground floor).
194 | MH/ARCH-12 | 181 | /233 | 22 Dec 09 | - | Cupboard detail GD CB 08. (Zone 'D' ground floor).
195 | MH/ARCH-12 | 182 | /233 | 22 Dec 09 | - | Cupboard detail GD CB 09/10. (Zone 'D' ground floor).
196 | MH/ARCH-12 | 183 | /233 | 22 Dec 09 | - | Cupboard detail GD CB 12/13. (Zone 'D' ground floor).
197 | MH/ARCH-12 | 184 | /233 | 22 Dec 09 | - | Cupboard detail FA CB 01. (Zone 'A' first floor).
198 | MH/ARCH-12 | 185 | /233 | 22 Dec 09 | - | Cupboard detail FA CB 02/10. (Zone 'A' first floor).
199 | MH/ARCH-12 | 186 | /233 | 22 Dec 09 | - | Cupboard detail FB CB 03. (Zone 'B' first floor).
200 | MH/ARCH-12 | 187 | /233 | 22 Dec 09 | - | Cupboard detail FB CB 04. (Zone 'B' first floor).
201 | MH/ARCH-12 | 188 | /233 | 22 Dec 09 | - | Cupboard detail FB CB 06. (Zone 'B' first floor).
202 | MH/ARCH-12 | 189 | /233 | 22 Dec 09 | - | Cupboard detail FC CB 09. (Zone 'C' first floor).
203 | MH/ARCH-12 | 190 | /233 | 22 Dec 09 | - | Cupboard detail FC CB 11. (Zone 'C' first floor).
204 | MH/ARCH-12 | 191 | /233 | 22 Dec 09 | - | Cupboard detail FC CB 12. (Zone 'C' first floor).
205 | MH/ARCH-12 | 192 | /233 | 22 Dec 09 | - | Cupboard detail FC CB 13/14. (Zone 'C' first floor).
206 | MH/ARCH-12 | 193 | /233 | 22 Dec 09 | - | Cupboard detail FC CB 15. (Zone 'C' first floor).
207 | MH/ARCH-12 | 194 | /233 | 22 Dec 09 | - | Cupboard detail FC CB 16. (Zone 'C' first floor).
208 | MH/ARCH-12 | 195 | /233 | 22 Dec 09 | - | Cupboard detail FD CB 18. (Zone 'D' first floor).
209 | MH/ARCH-12 | 196 | /233 | 22 Dec 09 | - | Cupboard detail SA CB 01/02. (Zone 'A' second floor).
CA No. CEUZ/UDH/04/2010-11 | [5 empty] | Serial Page No.
LIST OF DRAWINGS
1 | 2 | 3 |  | 4 | 5 | 6
210 | MH/ARCH-12 | 197 | /233 | 22 Dec 09 | - | Cupboard detail SB CB 03/04. (Zone 'A' second floor).
211 | MH/ARCH-12 | 198 | /233 | 22 Dec 09 | - | Cupboard detail SB CB 05. (Zone 'A'/'B' second floor).
212 | MH/ARCH-12 | 199 | /233 | 22 Dec 09 | - | Cupboard detail SB CB 06/07. (Zone 'B' second floor).
213 | MH/ARCH-12 | 200 | /233 | 22 Dec 09 | - | Cupboard detail SC CB 08/09. (Zone 'B' second floor).
214 | MH/ARCH-12 | 201 | /233 | 22 Dec 09 | - | Cupboard detail SC CB 10/13. (Zone 'B' second floor).
215 | MH/ARCH-12 | 202 | /233 | 22 Dec 09 | - | Cupboard detail SC CB 11. (Zone 'B' second floor).
216 | MH/ARCH-12 | 203 | /233 | 22 Dec 09 | - | Cupboard detail SC CB 12. (Zone 'B' second floor).
217 | MH/ARCH-12 | 204 | /233 | 22 Dec 09 | - | Cupboard detail SD CB 14. (Zone 'D' second floor).
218 | MH/ARCH-12 | 205 | /233 | 22 Dec 09 | - | Cupboard detail SD CB 15/16. (Zone 'D' second floor).
219 | MH/ARCH-12 | 206 | /233 | 22 Dec 09 | - | Cupboard detail SD CB 17/18. (Zone 'D' second floor).
220 | MH/ARCH-12 | 207 | /233 | 22 Dec 09 | - | Zone - A GA/PC 01-02. (Full ground floor).
221 | MH/ARCH-12 | 208 | /233 | 22 Dec 09 | - | Zone - A GA/PC R03. (Full ground floor).
222 | MH/ARCH-12 | 209 | /233 | 22 Dec 09 | - | Zone - B GB/PC 04/05. (Full ground floor).
223 | MH/ARCH-12 | 210 | /233 | 22 Dec 09 | - | Zone - B GB/PC 06/07. (Full ground floor).
224 | MH/ARCH-12 | 211 | /233 | 22 Dec 09 | - | Zone - B GB/PC 08/11. (Full ground floor).
225 | MH/ARCH-12 | 212 | /233 | 22 Dec 09 | - | Zone - B GB/PC 09/10. (Full ground floor).
226 | MH/ARCH-12 | 213 | /233 | 22 Dec 09 | - | Zone - D GD/PC 12/13. (Full ground floor).
227 | MH/ARCH-12 | 214 | /233 | 22 Dec 09 | - | Zone - D GD/PC 14/20. (Full ground floor).
228 | MH/ARCH-12 | 215 | /233 | 22 Dec 09 | - | Zone - D GD/PC 15/21. (Full ground floor).
229 | MH/ARCH-12 | 216 | /233 | 22 Dec 09 | - | Zone - D GD/PC 16/17. (Full ground floor).
230 | MH/ARCH-12 | 217 | /233 | 22 Dec 09 | - | Zone - D GD/PC 18/19. (Full ground floor).
231 | MH/ARCH-12 | 218 | /233 | 22 Dec 09 | - | Zone - B/D FB/FD PC 01/04. (Full first floor).
232 | MH/ARCH-12 | 219 | /233 | 22 Dec 09 | - | Zone - C FC/PC 02/03. (Full first floor).
233 | MH/ARCH-12 | 220 | /233 | 22 Dec 09 | - | Zone - D FD/PC 05/06. (Full first floor).
234 | MH/ARCH-12 | 221 | /233 | 22 Dec 09 | - | Zone - A SA/PC 01/02. (Full first floor).
235 | MH/ARCH-12 | 222 | /233 | 22 Dec 09 | - | Zone - A SA/PC 03/04. (Full second floor).
236 | MH/ARCH-12 | 223 | /233 | 22 Dec 09 | - | Zone - A SA/PC 05/06. (Full second floor).
237 | MH/ARCH-12 | 224 | /233 | 22 Dec 09 | - | Zone - A/B SA/SB PC 07/13. (Full second floor).
238 | MH/ARCH-12 | 225 | /233 | 22 Dec 09 | - | Zone - B SB/PC08/09. (Full second floor).
239 | MH/ARCH-12 | 226 | /233 | 22 Dec 09 | - | Zone - B SB/PC 10/11. (Full second floor).
240 | MH/ARCH-12 | 227 | /233 | 22 Dec 09 | - | Zone - B SB/PC 12. (Full second floor).
CA No. CEUZ/UDH/04/2010-11 | [5 empty] | Serial Page No.
LIST OF DRAWINGS
1 | 2 | 3 |  | 4 | 5 | 6
241 | MH/ARCH-12 | 228 | /233 | 22 Dec 09 | - | Zone - C SC/PC 14/15/17. (Full second floor).
242 | MH/ARCH-12 | 229 | /233 | 22 Dec 09 | - | Zone - C SC/PC 16. (Full second floor).
243 | MH/ARCH-12 | 230 | /233 | 22 Dec 09 | - | Zone - C SC 18/19. (Full second floor).
244 | MH/ARCH-12 | 231 | /233 | 22 Dec 09 | - | Zone - D SD 20/21/22. (Full second floor).
245 | MH/ARCH-12 | 232 | /233 | 22 Dec 09 | - | Zone - D SD/PC 23/24/25. (Full second floor).
246 | MH/ARCH-12 | 233 | /233 | 22 Dec 09 | - | Zone - D SD/PC 26/27/28 (Full second floor).
247 | MH/ARCH-12 | 233B | /233 | 25 Mar 10 | - | Zone - B Ground & first floor (Porch detail).
STRUCTURAL DRAWINGS : HOSPITAL BUILDINGS (ZONE -A)
248 | MH/UDH/W/S-10A | 1 | /30 | 01 Jan 10 | - | Foundation plan and footing details.
249 | MH/UDH/W/S-10A | 2 | /30 | 01 Jan 10 | - | Plinth beam and footing detail.
250 | MH/UDH/W/S-10A | 3 | /30 | 01 Jan 10 | - | First floor framIng plan beam detail.
251 | MH/UDH/W/S-10A | 4 | /30 | 01 Jan 10 | - | Second floor framing plan & beam detail.
252 | MH/UDH/W/S-10A | 5 | /30 | 01 Jan 10 | - | Roof level framing plan, beam & stair case detail.
STRUCTURAL DRAWINGS : HOSPITAL BUILDINGS (ZONE -B)
253 | MH/UDH/W/S-10A | 6 | /30 | 01 Jan 10 | - | Foundation plan, column & beam detail.
254 | MH/UDH/W/S-10A | 7 | /30 | 01 Jan 10 | - | Meat footing RCC wall footing & stair case detail.
255 | MH/UDH/W/S-10A | 8 | /30 | 01 Jan 10 | - | First floor framing plan & beam detail.
256 | MH/UDH/W/S-10A | 9 | /30 | 01 Jan 10 | - | Second floor framing, plan, slab & beam detail.
257 | MH/UDH/W/S-10A | 10 | /30 | 01 Jan 10 | - | Roof level framing plan & beam detail.
STRUCTURAL DRAWINGS : HOSPITAL BUILDINGS (ZONE -C)
258 | MH/UDH/W/S-10A | 11 | /30 | 01 Jan 10 | - | Foundation plan, columns, footing & beam details.
259 | MH/UDH/W/S-10A | 12 | /30 | 01 Jan 10 | - | First floor framing plan, beams detail.
260 | MH/UDH/W/S-10A | 13 | /30 | 01 Jan 10 | - | Second floor framing plan, slab & beam details.
261 | MH/UDH/W/S-10A | 14 | /30 | 01 Jan 10 | - | Roof level framing plan & beam detail.
STRUCTURAL DRAWINGS : HOSPITAL BUILDINGS (ZONE -D)
262 | MH/UDH/W/S-10A | 15 | /30 | 01 Jan 10 | - | Plinth level framing plan, ramp & beam detail.
263 | MH/UDH/W/S-10A | 16 | /30 | 01 Jan 10 | - | Foundation plan & first floor framing plan and beams detail.
264 | MH/UDH/W/S-10A | 17 | /30 | 01 Jan 10 | - | Second floor framing plan & beam detail.
265 | MH/UDH/W/S-10A | 18 | /30 | 01 Jan 10 | - | Roof level framing plan & beam detail.
HOSPITAL BUILDING (PLUMBING DETAIL)
266 | OTM/UDH/MH/PL-01 | 1 |  | 21 Dec 09 | - | Ground floor.
267 | OTM/UDH/MH/PL-02 | 2 |  | 21 Dec 09 | - | First floor.
268 | OTM/UDH/MH/PL-03 | 3 |  | 21 Dec 09 | - | Second floor.
269 | OTM/UDH/MH/PL-04 | 4 |  | 21 Dec 09 | - | Second roof.
270 | OTM/UDH/MH/PL-05 | 5 |  | 21 Dec 09 | - | Ground floor (Toilet detail).
271 | OTM/UDH/MH/PL-06 | 6 |  | 21 Dec 09 | - | Ground floor (Toilet detail).
272 | OTM/UDH/MH/PL-07 | 7 |  | 21 Dec 09 | - | First floor (Toilet detail).
273 | OTM/UDH/MH/PL-08 | 8 |  | 21 Dec 09 | - | Second floor (Toilet detail).
CA No. CEUZ/UDH/04/2010-11 | [5 empty] | Serial Page No.
LIST OF DRAWINGS
1 | 2 | 3 |  | 4 | 5 | 6
274 | OTM/UDH/MH/PL-09 | 9 |  | 21 Dec 09 | - | Ground, first & second floor (toilet detail).
275 | OTM/UDH/MH/PL-10 | 10 |  | 21 Dec 09 | - | Water supply schematic diagram.
ELECTRICAL DETAILS
276 | EL-01 | 1 |  | 22 Dec 09 | - | Hospital ground floor plan (lighting & layout).
277 | EL-02 | 2 |  | 22 Dec 09 | - | Hospital first floor plan (Lighting layout).
278 | EL-03 | 3 |  | 22 Dec 09 | - | Hospital second floor plan (Lighting layout).
279 | EL-04 | 1 |  | 22 Dec 09 | - | Hospital ground floor plan (Power & cable tray layout).
280 | EL-05 | 2 |  | 22 Dec 09 | - | Hospital first floor plan (Power & cable tray layout).
281 | EL-06 | 3 |  | 22 Dec 09 | - | Hospital second floor plan (Power & cable tray layout).
282 | EL-07 | 7 |  | 22 Dec 09 | - | Electrical layout.
283 | EL-08 | 8 |  | 22 Dec 09 | - | Electrical layout.
284 | EL-09 | 9 |  | 22 Dec 09 | - | Electrical layout.
285 | EL-10 | 10 |  | 22 Dec 09 | - | Hospital terrace plan (lightning protection and machine room light and power layout).
FIRE FIGHTING
286 | OTM/UDH/MH/FF-01 | 1 |  | 21 Dec 09 | - | Hospital ground floor plan (fire fighting layout).
287 | OTM/UDH/MH/FF-02 | 2 |  | 21 Dec 09 | - | Hospital first floor plan (fire fighting layout).
288 | OTM/UDH/MH/FF-03 | 3 |  | 21 Dec 09 | - | Hospital second floor plan (fire fighting layout).
289 | OTM/UDH/MH/FF-04 | 11A |  | 21 Dec 09 | - | Hospital site plan (fire fighting layout).
FIRE DETECTION
290 | FD-01 | 1 |  | 22 Dec 09 | - | Hospital ground floor.
291 | FD-02 | 2 |  | 22 Dec 09 | - | Hospital first floor.
292 | FD-03 | 3 |  | 22 Dec 09 | - | Hospital second floor.
AIR CONDITIONING
293 | AC-01-(R-3) | 1 |  | 15 Sep 09 | - | Hospital ground floor plan (AC layout).
294 | AC-02-(R-2) | 2 |  | 15 Sep 09 | - | Hospital first floor plan (AC layout).
295 | AC-03-(R-2) | 3 |  | 15 Sep 09 | - | Hospital second floor plan (AC layout).
296 | AC-SCH-01R02 | 4 |  | 15 Sep 09 | - | Hospital CHW & HW piping schematic layout.
OFFICER's MESS & SINGLE OFFICER's ACCN
297 | MH/ARCH-13 | 01 | /21 | 22 Dec 09 | - | Ground floor plan.
298 | MH/ARCH-13 | 02 | /21 | 22 Dec 09 | - | First floor plan.
299 | MH/ARCH-13 | 03 | /21 | 22 Dec 09 | - | Roof plan.
300 | MH/ARCH-13 | 04 | /21 | 22 Dec 09 | - | Sections (A-A' ) (All floors).
301 | MH/ARCH-13 | 05 | /21 | 22 Dec 09 | - | Sections (B-B' ) (All floors).
302 | MH/ARCH-13 | 06 | /21 | 22 Dec 09 | - | Front elevation (All floors).
303 | MH/ARCH-13 | 07 | /21 | 22 Dec 09 | - | Rear elevation (All floors).
304 | MH/ARCH-13 | 08 | /21 | 22 Dec 09 | - | West side elevation (All floors).
305 | MH/ARCH-13 | 09 | /21 | 22 Dec 09 | - | East side elevation (All floors).
306 | MH/ARCH-13 | 10 | /21 | 22 Dec 09 | - | Flooring pattern (Ground floor).
307 | MH/ARCH-13 | 11 | /21 | 22 Dec 09 | - | Flooring pattern (First floor).
308 | MH/ARCH-13 | 12 | /21 | 22 Dec 09 | - | False ceiling (Ground floor).
309 | MH/ARCH-13 | 13 | /21 | 22 Dec 09 | - | False ceiling (First floor).
310 | MH/ARCH-13 | 14A | /21 | 05 Oct 09 | - | Toilet details (Ladies) (Ground floor).
311 | MH/ARCH-13 | 14B | /21 | 22 Dec 09 | - | Toile details(Gents) (Ground floor).
CA No. CEUZ/UDH/04/2010-11 | [5 empty] | Serial Page No.
LIST OF DRAWINGS
1 | 2 | 3 |  | 4 | 5 | 6
312 | MH/ARCH-13 | 15 | /21 | 05 Oct 09 | - | Toilet details (Hav) (Ground floor).
313 | MH/ARCH-13 | 16 | /21 | 05 Oct 09 | - | Toilet details (Single Offrs) (First floor).
314 | MH/ARCH-13 | 17 | /21 | 22 Dec 09 | - | Kitchen details (Ground floor).
315 | MH/ARCH-13 | 18 | /21 | 22 Dec 09 | - | Servery room detail (Ground floor).
316 | MH/ARCH-13 | 19 | /21 | 22 Dec 09 | - | Cupboard-01/02/03 (First floor).
317 | MH/ARCH-13 | 20 | /21 | 22 Dec 09 | - | Cupboard-G CB-02 (Ground floor).
318 | MH/ARCH-13 | 21 | /21 | 22 Dec 09 | - | Cupboard-01 (Ground floor).
STRUCTURAL DRAWINGS : OFFICERs MESS
319 | MH/UDH/W/S-10A | 23 | /30 | 01 Jan 10 | - | Foundation plan & columns & footing & beam detail.
320 | MH/UDH/W/S-10A | 24 | /30 | 01 Jan 10 | - | Footing & plinth beam details.
321 | MH/UDH/W/S-10A | 25 | /30 | 01 Jan 10 | - | Framing at first floor level beams & slab detail.
322 | MH/UDH/W/S-10A | 26 | /30 | 01 Jan 10 | - | Roof plan, water tank level slab and beam details.
323 | MH/UDH/W/S-10A | 27 | /30 | 01 Jan 10 | - | Typical truss detail (12M to 18M span).
OFFICERS MESS (PLUMBING DETAIL)
324 | OTM/UDH/OM/PL-01 | 12 |  | 21 Dec 09 | - | Ground floor.
325 | OTM/UDH/OM/PL-02 | 13 |  | 21 Dec 09 | - | First floor.
326 | OTM/UDH/OM/PL-03 | 14 |  | 21 Dec 09 | - | Ground & first floor (toilet detail).
OFFICERS MESS (ELECTRICAL DETAILS)
327 | OTM/UDH/OM/EL-01 | 1 |  | 22 Dec 09 | - | Officers mess ground floor plan (lighting & power layout).
328 | OTM/UDH/OM/EL-02 | 2 |  | 22 Dec 09 | - | Officers mess first floor plan (lighting & power layout).
SERVANT QUARTERS
329 | OTM\UDH\W\A-10 | 9 | /48 | 08 Dec 09 | - | Floor plan, roof plan, section, elevation.
330 | OTM\UDH\W\S-10 | 24 | /30 | 15 Dec 09 | - | Foundation plan framing at first floor Level, column, footing & beam details.
331 | OTM\UDH\W\S-10 | 25 | /30 | 15 Dec 09 | - | Roof framing plan, beams, water tank slab & staircase details.
DIETARY BLOCK
332 | MH/ARCH-12 | 01 | /16 | 22 Dec 09 | - | Ground floor plan.
333 | MH/ARCH-12 | 02 | /16 | 22 Dec 09 | - | First floor plan.
334 | MH/ARCH-12 | 03 | /16 | 22 Dec 09 | - | Roof plan.
335 | MH/ARCH-12 | 04 | /16 | 22 Dec 09 | - | Sections (All floors).
336 | MH/ARCH-12 | 05A | /16 | 22 Dec 09 | - | Elevation (All floors).
337 | MH/ARCH-12 | 05B | /16 | 22 Dec 09 | - | Elevation (All floors).
338 | MH/ARCH-12 | 06 | /16 | 22 Dec 09 | - | Flooring pattern (All floors).
339 | MH/ARCH-12 | 07 | /16 | 22 Dec 09 | - | False ceiling (All floors).
340 | MH/ARCH-12 | 08 | /16 | 22 Dec 09 | - | Toilet-1 (First floor).
341 | MH/ARCH-12 | 09 | /16 | 22 Dec 09 | - | Toilet-2 (First floor).
342 | MH/ARCH-12 | 10 | /16 | 22 Dec 09 | - | Toilet-3 (First floor).
343 | MH/ARCH-12 | 11 | /16 | 22 Dec 09 | - | Toilet-4 (First floor).
344 | MH/ARCH-12 | 12 | /16 | 22 Dec 09 | - | Toilet-1 (Ground floor).
345 | MH/ARCH-12 | 13 | /16 | 22 Dec 09 | - | Toilet-2 (Ground floor).
346 | MH/ARCH-12 | 14 | /16 | 22 Dec 09 | - | Kitchen-1 (First floor).
347 | MH/ARCH-12 | 15 | /16 | 22 Dec 09 | - | Kitchen-2 (First floor).
348 | MH/ARCH-12 | 16 | /16 | 22 Dec 09 | - | Kitchen-3 (First floor).
349 | MH/ARCH-12 | 16B | /16 | 22 Dec 09 | - | Cupboard detail CB-01
350 | MH/ARCH-12 | 16C | /16 | 22 Dec 09 | - | Cupboard detail CB-02
351 | MH/ARCH-12 | 16D | /16 | 22 Dec 09 | - | Cupboard detail CB-03
CA No. CEUZ/UDH/04/2010-11 | [5 empty] | Serial Page No.
LIST OF DRAWINGS
1 | 2 | 3 |  | 4 | 5 | 6
STRUCTURAL DRAWINGS : DIETARY BLOCK BUILDING
352 | MH/UDH/W/S-10A | 19 | /30 | 01 Jan 10 | - | Foundation plan, column, footing & beam detail.
353 | MH/UDH/W/S-10A | 20 | /30 | 01 Jan 10 | - | First floor framing plan, slab, beams detail.
354 | MH/UDH/W/S-10A | 21 | /30 | 01 Jan 10 | - | First floor framing plan, slab, beams detail.
355 | MH/UDH/W/S-10A | 22 | /30 | 01 Jan 10 | - | Water tank slab level framing plan & beam detail.
DIETARY BLOCK (PLUMBING DETAIL)
356 | OTM/UDH/DB/PL-01 | 15 |  | 21 Dec 09 | - | Ground & first floor.
357 | OTM/UDH/DB/PL-02 | 16 |  | 21 Dec 09 | - | Ground & first floor (toilet detail).
DIETARY BLOCK (ELECTRICAL DETAILS)
358 | OTM/UDH/DB/EL-01 | 1 |  | 22 Dec 09 | - | Dietry block ground & first floor plan (lighting & power layout).
JCO's MESS & SINGLE ACCN FOR JCO's
359 | OTM\UDH\W\A-10 | 3 | /48 | 08 Dec 09 | - | Ground floor plans & section -AA.
360 | OTM\UDH\W\A-10 | 4 | /48 | 08 Dec 09 | - | First floor & roof plan.
361 | OTM\UDH\W\A-10 | 5 | /48 | 08 Dec 09 | - | Section & elevation
362 | OTM\UDH\W\A-10 | 6 | /48 | 08 Dec 09 | - | Toilet details.
363 | OTM\UDH\W\A-10 | 6A | /48 | 08 Dec 09 | - | Kitchen details.
364 | OTM\UDH\W\S-10 | 1 | /30 | 15 Dec 09 | - | Foundation plan, columns & footing & plinth beam details.
365 | OTM\UDH\W\S-10 | 2 | /30 | 15 Dec 09 | - | Framing at first floor level, roof level & beams details.
366 | OTM\UDH\W\S-10 | 3 | /30 | 15 Dec 09 | - | Roof plan, water tank slab, beams & chajja & stair case details.
SINGLE LIVING ACCN FOR HAV/OR's
367 | OTM\UDH\W\A-10 | 16 | /48 | 08 Dec 09 | - | Ground floor plans & section.
368 | OTM\UDH\W\A-10 | 17 | /48 | 08 Dec 09 | - | First floor plan & elevation.
369 | OTM\UDH\W\A-10 | 18 | /48 | 08 Dec 09 | - | Floor plan & roof plan.
370 | OTM\UDH\W\A-10 | 19 | /48 | 08 Dec 09 | - | Elevations.
371 | OTM\UDH\W\A-10 | 20 | /48 | 08 Dec 09 | - | Toilet details.
372 | OTM\UDH\W\S-10 | 4 | /30 | 15 Dec 09 | - | Framing plans & beam details.
373 | OTM\UDH\W\S-10 | 5 | /30 | 15 Dec 09 | - | First & second floor framing plans & beam details.
374 | OTM\UDH\W\S-10 | 6 | /30 | 15 Dec 09 | - | Roof framing plan & beam details.
375 | OTM\UDH\W\S-10 | 7 | /30 | 15 Dec 09 | - | Roof framing plans & beam details.
DINING HALL & COOK HOUSE FOR HAV/OR's
376 | OTM\UDH\W\A-10 | 7 | /48 | 08 Dec 09 | - | Floor plan, roof plan, section, elevations & toilet details.
377 | OTM\UDH\W\A-10 | 8 | /48 | 08 Dec 09 | - | Kitchen details.
378 | OTM\UDH\W\S-10 | 8 | /30 | 15 Dec 09 | - | Foundation plan, columns & footing & plinth beam details.
379 | OTM\UDH\W\S-10 | 9 | /30 | 15 Dec 09 | - | Roof framing plan, beams details, water tank slab & chajja detail.
AGE OFFICE
380 | OTM\UDH\W\A-10 | 12 | /48 | 08 Dec 09 | - | Floor plan & section.
381 | OTM\UDH\W\A-10 | 13 | /48 | 08 Dec 09 | - | Elevation, roof plan, section & arch detail.
382 | OTM\UDH\W\A-10 | 14 | /48 | 08 Dec 09 | - | Toilet detail.
383 | OTM\UDH\W\S-10 | 17 | /30 | 15 Dec 09 | - | Foundation plan, columns, footing & plinth beam details.
384 | OTM\UDH\W\S-10 | 18 | /30 | 15 Dec 09 | - | First floor and roof framing plan, beams, water tank slab, chajja & staircase details.
CA No. CEUZ/UDH/04/2010-11 | [5 empty] | Serial Page No.
LIST OF DRAWINGS
1 | 2 | 3 |  | 4 | 5 | 6
GENERAL STORE FOR B/R & E/M
385 | OTM\UDH\W\A-10 | 21 | /48 | 08 Dec 09 | - | Floor & roof plan elevation & section.
386 | OTM\UDH\W\S-10 | 12 | /30 | 15 Dec 09 | - | Foundation and roof plan, columns, footing, beams & chajja details.
387 | OTM\UDH\W\S-10 | 13 | /30 | 15 Dec 09 | - | Foundation and roof plan, columns, footing, beams & chajja details.
SINGLE ACCN FOR AGE
388 | OTM\UDH\W\A-10 | 1 | /48 | 08 Dec 09 | - | Floor & roof plan, elevations & section AA.
389 | OTM\UDH\W\A-10 | 2 | /48 | 08 Dec 09 | - | Kitchen & toilet details.
390 | OTM\UDH\W\S-10 | 10 | /30 | 15 Dec 09 | - | Foundation plan, columns & footing & plinth beam details.
391 | OTM\UDH\W\S-10 | 11 | /30 | 15 Dec 09 | - | First floor & roof framing plan, beams, water tank slab, chajja & staircase detail.
SINGLE ACCN FOR OTHER STAFF
392 | OTM\UDH\W\A-10 | 10 | /48 | 08 Dec 09 | - | Ground, first & roof plan, elevation & section.
393 | OTM\UDH\W\A-10 | 11 | /48 | 08 Dec 09 | - | Toilet details of single accn & servant qtr.
394 | OTM\UDH\W\S-10 | 19 | /30 | 15 Dec 09 | - | Foundation and first floor framing plan, columns, footing & beam details.
395 | OTM\UDH\W\S-10 | 20 | /30 | 15 Dec 09 | - | Roof plan, beams, water tank slab, chajja & staircase details.
GUARD REST ROOM
396 | OTM\UDH\W\A-10 | 23 | /48 | 08 Dec 09 | - | Plan, section, elevation & toilet details.
397 | OTM\UDH\W\S-10 | 14 | /30 | 15 Dec 09 | - | Foundation and roof plan, columns, footing, beams & chajja details.
PUMP HOUSE BUILDING
398 | OTM\UDH\W\A-10 | 24 | /48 | 08 Dec 09 | - | Plan, section, elevation & toilet details.
399 | OTM\UDH\W\S-10 | 21 | /30 | 15 Dec 09 | - | Foundation and roof plan, columns, footing beams, water tank slab & chajja details.
SINGLE MEN KEY PERSONNEL QUARTERS
400 | OTM\UDH\W\A-10 | 22 | /48 | 08 Dec 09 | - | Plan, section, elevation & toilet details.
401 | OTM\UDH\W\S-10 | 16 | /30 | 15 Dec 09 | - | Foundation and roof plan, columns, footing, beams, water tank slab & chajja details.
STORAGE ACCN (POL), GARAGES & SCOOTER SHED FOR JCO's
402 | OTM\UDH\W\A-10 | 15 | /48 | 08 Dec 09 | - | Floor & roof plan, elevation & section.
403 | OTM\UDH\W\S-10 | 15 | /30 | 15 Dec 09 | - | Foundation and roof plan, columns, footing, beams & chajja details.
404 | OTM\UDH\W\S-10 | 23 | /30 | 15 Dec 09 | - | Foundation and roof plan, footing columns & beam details.
PH, LT/HT PANEL ROOM, TR, WT/ PLANT & PUMPROOM
405 | MH/UDH/W/S-10A | 30 | /30 | 09 Feb 10 | - | Structural details.
OVER HEAD RESERVOIR
406 | CEUZ/STD-429/10 | 1 | /1 | 30 Mar 10 | - | Overhead reservoir 50,000 Gallons cap
407 | 2004/ST/032 | 1 | /4 | 02 Nov 04 | - | Foundation plan, RCC detail of raft & sectional elevation of tank.
CA No. CEUZ/UDH/04/2010-11 | [5 empty] | Serial Page No.
LIST OF DRAWINGS
1 | 2 | 3 |  | 4 | 5 | 6
408 | 2004/ST/032 | 2 | /4 | 02 Nov 04 | - | Bottom & top dome RCC detail & part sectional RCC details of dome.
409 | 2004/ST/032 | 3 | /4 | 02 Nov 04 | - | Ventilator details, the deam details & column reinforcement details.
410 | 2004/ST/032 | 4 | /4 | 02 Nov 04 | - | Circular stair details manhole cover details & misc details.
TYPICAL DRAWINGS
411 | CE/TD-1001/90 | 1 | /1 | 18 Apr 90 | 25 Jun 03 | Detail of valve pits.
412 | CE/TD-1004/90 | 1 | /2 | 18 Apr 90 | 25 Jun 03 | Details of manholes.
413 | CE/TD-1004/90 | 2 | /2 | 18 Apr 90 | 25 Jun 03 | Details of manholes.
414 | CE/TD-1202/03 | 1 | /2 | 09 Oct 03 | 19 Mar 04 | Septic tank & soakage well/ pit.
415 | CE/TD-1202/03 | 2 | /2 | 09 Oct 03 | 11 May 05 | Septic tank & soakage well/ pit.
416 | CEUZ/TD-1252/07 | 1 | /11 | 30 Mar 07 | 29 Apr 08 | General notes for RCC works
417 | CEUZ/TD-1252/07 | 2 | /11 | 30 Mar 07 | - | General notes for RCC works
418 | CEUZ/TD-1252/07 | 3 | /11 | 30 Mar 07 | - | General notes for RCC works
419 | CEUZ/TD-1252/07 | 4 | /11 | 30 Mar 07 | 29 Apr 08 | General notes for RCC works
420 | CEUZ/TD-1252/07 | 5 | /11 | 30 Mar 07 | - | General notes for RCC works
421 | CEUZ/TD-1252/07 | 6 | /11 | 30 Mar 07 | - | General notes for RCC works
422 | CEUZ/TD-1252/07 | 7 | /11 | 30 Mar 07 | - | General notes for RCC works
423 | CEUZ/TD-1252/07 | 8 | /11 | 30 Mar 07 | - | General notes for RCC works
424 | CEUZ/TD-1252/07 | 9 | /11 | 30 Mar 07 | - | General notes for RCC works
425 | CEUZ/TD-1252/07 | 10 | /11 | 30 Mar 07 | - | General notes for RCC works
426 | CEUZ/TD-1252/07 | 11 | /11 | 30 Mar 07 | - | General notes for RCC works
427 | CEUZ/TD-1253/07 | 1 | /5 | 30 Mar 07 | 29 Apr 08 | Typical details of sesmic provisions.
428 | CEUZ/TD-1253/07 | 2 | /5 | 30 Mar 07 | - | Typical details of sesmic provisions.
429 | CEUZ/TD-1253/07 | 3 | /5 | 30 Mar 07 | - | Typical details of sesmic provisions.
430 | CEUZ/TD-1253/07 | 4 | /5 | 30 Mar 07 | - | Typical details of sesmic provisions.
431 | CEUZ/TD-1253/07 | 5 | /5 | 30 Mar 07 | - | Typical details of sesmic provisions.
432 | MH/UDH/W/S-10A | 28 | /30 | 01 Jan 10 | - | Roof plan & truss detail.
433 | MH/UDH/W/S-10A | 29 | /30 | 01 Jan 10 | - | Structural notes & TD drawing.
434 | OTM\UDH\W\A-10 | 25 | /48 | 08 Dec 09 | - | Typical door window elevations.
435 | OTM\UDH\W\A-10 | 26 | /48 | 08 Dec 09 | - | Typical door window details.
436 | OTM\UDH\W\A-10 | 27 | /48 | 08 Dec 09 | - | Typical detail (false ceiling, servery counter, railing etc.,)
437 | OTM\UDH\W\A-10 | 28 | /48 | 08 Dec 09 | - | Typical detail (PVC partition, shelves, steps, plinth protection etc.,).
438 | OTM\UDH\W\A-10 | 29 | /48 | 08 Dec 09 | - | Wardrobe details.
439 | OTM\UDH\W\A-10 | 30 | /48 | 08 Dec 09 | - | Cupboard detail for Hav.
440 | OTM\UDH\W\A-10 | 31 | /48 | 08 Dec 09 | - | Cupboard detail for OR's.
441 | OTM\UDH\W\A-10 | 32 | /48 | 08 Dec 09 | - | Typical staircase detail.
SCHEDULE OF FINISHES |  |  |  | 08 Dec 09
442 | OTM\UDH\W\A-10 | 33 | /48 | 08 Dec 09 | - | Schedule of finishes for JCO's Mess & club, single JCO's accn, DH & CH for Hav/ OR's, Single Men Key pers qtrs.
443 | OTM\UDH\W\A-10 | 34 | /48 | 08 Dec 09 | - | Schedule of finishes for servant quarters, single accn for AGE, storage accn & guard room.
444 | OTM\UDH\W\A-10 | 35 | /48 | 08 Dec 09 | - | Schedule of finishes for AGE office, single accn for other staff, General store for E/M & B/R.
445 | OTM\UDH\W\A-10 | 36 | /48 | 08 Dec 09 | - | Schedule of finishes for Single living for Hav/ OR's, pump house building.
CA No. CEUZ/UDH/04/2010-11 | [5 empty] | Serial Page No.
LIST OF DRAWINGS
1 | 2 | 3 |  | 4 | 5 | 6
ELECTRICAL DRAWINGS
446 | OTM\UDH\W\A-10 | 37 | /48 | 08 Dec 09 | - | Electrical layout & D.B details for DH & CH, single accn for AGE and other staff & pump house building.
447 | OTM\UDH\W\A-10 | 38 | /48 | 08 Dec 09 | - | Electrical layout & D.B details for AGE office and servant quarter.
448 | OTM\UDH\W\A-10 | 39 | /48 | 08 Dec 09 | - | Electrical layout & D.B details for JCO's Mess.
449 | OTM\UDH\W\A-10 | 40 | /48 | 08 Dec 09 | - | Electrical layout & D.B details for Gen store for B/R & E/M, guard rest room, storage accn, single men Key Personnel quarters, Pump House No 1
450 | OTM\UDH\W\A-10 | 41 | /48 | 08 Dec 09 | - | Electrical layout & D.B details for single living accn for Hav/OR's.
451 | OTM\UDH\W\A-10 | 42 | /48 | 08 Dec 09 | - | Electrical layout & D.B details for single living accn for Hav/OR's.
PLUMBING DRAWINGS.
452 | OTM/UDH/W/WS-10 | 43 | /48 | 08 Dec 09 | - | Plumbing layout & Schematic diagram for single accn for AGE & AGE office.
453 | OTM/UDH/W/WS-10 | 44 | /48 | 08 Dec 09 | - | Plumbing layout & Schematic diagram for single men Key personnel qtr, single accn for other staff, CH & DH for Hav & OR's.
454 | OTM/UDH/W/WS-10 | 45 | /48 | 08 Dec 09 | - | Plumbing layout & Schematic diagram for servant quarter, guard rest room.
455 | OTM/UDH/W/WS-10 | 46 | /48 | 08 Dec 09 | - | Plumbing layout & Schematic diagram for single living accn for Hav's and OR's.
456 | OTM/UDH/W/WS-10 | 47 | /48 | 08 Dec 09 | - | Plumbing layout & Schematic diagram for single living accn for Hav's and OR's.
457 | OTM/UDH/W/WS-10 | 48 | /48 | 08 Dec 09 | - | Plumbing layout & Schematic diagram for JCO's Mess & single living accn.
TRUSS DETAILS
458 | OTM\UDH\W\S-10 | 26 | /30 | 15 Dec 09 | - | Typical north light truss detail (upto 6 M Span)
459 | OTM\UDH\W\S-10 | 27 | /30 | 15 Dec 09 | - | Typical north light truss detail (upto 6 M to 9M Span)
460 | OTM\UDH\W\S-10 | 28 | /30 | 15 Dec 09 | - | Typical truss detail (upto 6M span).
461 | OTM\UDH\W\S-10 | 29 | /30 | 15 Dec 09 | - | Typical truss detail (6 M to 9 M span).
462 | OTM\UDH\W\S-10 | 30 | /30 | 15 Dec 09 | - | Typical truss detail (9M to 12 M span).
Signature of Contractor | [5 empty] | Dy. Dir (Contracts)
Dated : | [5 empty] | for Accepting Officer

## Plumb IV
Ser No | Description of items of works | Unit | No. of units reqd
1 | 2 | 4 | 5
1. | Cast iron soil, waste and vent pipes (Sand cast) in any length, with or without ears, with cement joints laid in trenches or in floors all as specified, of following bore:-
| (a) 100mm | RM | 1066
| (b) 75mm | RM | 163
2. | All as per Serial item No 1 above but fixed to walls, of following bores:-
| (a) 100mm bore | RM | 7520
| (b) 75mm bore | RM | 675
3. | Cast iron bends (any radius), diminishing pieces or tapers (larger bore measured), for pipes of bore:-
| (a) 100mm | Each | 641
| (b) 75mm | Each | 25
4. | Cast iron bends (any radius) with duck's foot or heel rest, for pipes of bore 100mm. | Each | 375
5. | Extra only for fittings if fitted with oval access door, for pipe of bore 75mm. | Each | 150
6. | Extra only for fittings if fitted with oval access door, for pipe of bore 100mm. | Each | 677
7. | Cast iron branch pieces, single (equal or unequal) ordinary or inverted (spigot or socket type) or with parallel branches for 100mm bore pipes. | Each | 728
8. | All as per Serial item No 7 above but for 75mm bore. | Each | 150
9. | All as per Serial item No 7 above but double branch junction, for 100mm bore. | Each | 22
10. | All as per Serial item No 7 above but double branch junction, for 75mm bore. | Each | 23
11. | Cast iron cowl for 100mm bore pipe. | Each | 353
12. | All as per Serial item No 11 above but for 75mm bore. | Each | 25
13. | Cast iron floor anti cockroach trap with stainless steel grating including jointing to waste pipes fixed in cement concrete 1:2:4 type B-1 with cement joint, dia of outlet 100mm, all as specified. | Each | 1010
14. | All as per Serial item No 13 above but Nahni trap. | Each | 100
15. | Salt glazed stoneware gully traps, square or round mouthed, type 'P', 150mm x 150mm, set and jointed to drain pipe in CM 1:1 complete with excavation and earth work in any type of soil, concrete bed, surrounds, kerbs, etc., and cast iron grating all as specified. | Each | 79
16. | Extra over cast iron pipes and fittings, if provided with lead joint in lieu of cement joint for 100mm bore complete all as specified. | Each | 12851
17. | All as per Serial item No 16 above but for 75mm bore. | Each | 1379
18 | Cast iron bossed pipe basin and bath connector, double (for one pipe system), of 100mm bore complete all as specified | Each | 1010
19 | Cast iron sanitory connections - short connections pipe of length upto 300 mm of 100mm bore complete all as specified | Each | 552
20 | Steel water tubes, medium grade, galvanised,with all fittings and fixed to walls, ceiling or laid under floors complete all as specified, of following bore:-
| (a) 32mm bore | RM | 846
| (b) 40mm bore | RM | 200
| (c) 50mm bore | RM | 978
21 | Un plasticized PVC pipes of pressure rating 10kgf per Sqcm fixed complete to walls,ceiling or in floors etc., 50mm bore of pipe complete all as specified | RM | 745
22 | Cast iron pipes with spigot and socket ends, centrifugally cast, class LA, in any lengths, laid in trenches, complete all as specified, for following bores:-
| (a) 100mm bore | RM | 100
| (b) 150mm bore | RM | 100
Note : Joints and fittings shall be measured and paid for separately.
23 | Lead wool joints to cast iron spigot and socketed pipes and fittings, complete all as specified, of following bores:
| (a) 100mm bore | Each | 25
| (b) 150mm bore | Each | 25
24 | Cast iron fittings for spigot and socket pipes such as bends (any radius, type and angle).Tapers any type, junctions, branches, collars etc upto 150mm bore of pipe complete all as specified | Kg | 1000
25 | Cast iron, centrifugally cast, (spun), soil, waste and vent pipes, in any length, spigot and socket pipes (as per IS-3989), fixed on walls, or laid in floors or in frenches, complete all as specified, 150mm bore of pipe | RM | 1925
Note : Joints and fittings shall be measured and paid for separately.
26 | Mild steel holder bat clamps of suitable size to fix cast iron pipes with walls of 150mm dia, embedded in PCC 1:2:4 type B-1 block of size 100x100x100mm, complete all as specified | Each | 1345
27 | Cast iron bend (any radius) with duck foot or heel rest as per IS-3989 for 150mm bore of pipe, all as specified. | Each | 94
28 | Run lead joint for spigot and socket pipes and fittings 150mm bore complete all as specified. | Each | 1982
29 | Cast iron branch pieces with oval access door, single, (equal or unequal), ordinary or inverted (spigot or socket type), as per IS-3989 for 150mm bore of pipe, all as specified | Each | 291
30 | All as per Srl item 29 above but plain branch pieces without oval access door. | Each | 10
31 | Cast iron terminal guard (cowl) for 150mm bore of pipe | Each | 94
32 | Cast brass clean out plug (COP)/Floor clean out (FCO) with suitable insert keys for opening in brass cap, male threaded joint/reducer with G.I socket caulked to pipe/fittings of CI incl cost of lead joint complete all as specified for 100mm bore of pipe | Each | 145
33 | Puddle flanges, fabricated out of 600mm long G.I/M.S. pipe welded around with 6mm thick M.S. plate and M.S. flange at one end of suitable size and properly embedded in RCC wall/slab for 100mm bore of pipe complete all as directed | Each | 350